## instructions
Step
1 | make a copy of this and put it in the "weekly_report_input_folder" that corresponds to the correct year and week
2 | paste your platemap into the appropriate location in the rna and/or pcr sheet
3 | Fill out all highlighted sections and rename this copied file with the "plate # or p#" in the title. This will be the platemap input in the pipeline
4 | Don't change the name of the "pcr" sheet

## rna_extraction
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | CSU-22107 | RMRP-00438 | RMRP-00446 | RMRP-00454 | BOU-00214 | CDC-044 | CDC-052 |  |  |  |  | wnv_std_1e6
B | CSU-22108 | RMRP-00439 | RMRP-00447 | RMRP-00455 | BOU-00215 | CDC-045 | CDC-053 |  |  |  |  | wnv_std_1e4
C | CSU-22109 | RMRP-00440 | RMRP-00448 | RMRP-00456 | CDC-038 | CDC-046 | CDC-054 |  |  |  |  | wnv_std_1e2
D | CSU-22110 | RMRP-00441 | RMRP-00449 | RMRP-00457 | CDC-039 | CDC-047 | CDC-055 |  |  |  |  | slev_std_1e6
E | CSU-22111 | RMRP-00442 | RMRP-00450 | RMRP-00458 | CDC-040 | CDC-048 | pos rna ctrl |  |  |  |  | slev_std_1e4
F | RMRP-00435 | RMRP-00443 | RMRP-00451 | BOU-00211 | CDC-041 | CDC-049 | [5 empty] | slev_std_1e2
G | RMRP-00436 | RMRP-00444 | RMRP-00452 | BOU-00212 | CDC-042 | CDC-050 | [5 empty] | neg h2O pcr ctrl
H | RMRP-00437 | RMRP-00445 | RMRP-00453 | BOU-00213 | CDC-043 | CDC-051 | [5 empty] | neg rna ctrl
[5 empty] | full protocol here -----------------------> |  | SS - RNA extraction
SUPPLIES |  |  |  |  | PROTOCOL CHECKLIST
Machine/Reagent | Group | Lot/ID |  |  | take samples out of freezer to thaw |  |  |  | TRUE
Kingfisher | FoCo | NA |  |  | ethanol added to SPR (check mark on bottle) |  |  |  | TRUE
TNA Lysis Buffer | FoCo | 34905GE140 |  |  | ethanol added to VHB (check mark on bottle) |  |  |  | TRUE
Isopropanol | FoCo | 234091 |  |  | pipettes changed between samples |  |  |  | TRUE
Proteanase K | FoCo | 57571EN53 |  |  | beads at room temp |  |  |  | TRUE
linear acrylamide | FoCo | 1332449 |  |  | beads vortexed |  |  |  | TRUE
magbind beads | FoCo | 52526CY127 |  |  | beads and proteanase K thoroughly mixed prior to dispensing |  |  |  | TRUE
SPR | FoCo | 32990fw58 |  |  | maintenance plate run done prior to sample run |  |  |  | TRUE
VHB | FoCo | 36814gg167 |  |  | A1 of sample plate oriented to A1 in machine |  |  |  | TRUE
dfh20 | FoCo | 54299dy80 |  |  | Return tip plate to top of robot |  |  |  | TRUE
[5 empty] | VHB, SPR and SAMPLE Plates liquid in sink plates in gargabe |  |  |  | TRUE
[5 empty] | Elution plate sealed with microseal B and in freezer/fridge or immediately processed |  |  |  | TRUE
RXN INPUT
N samples | 54 | (non blank values in platemap, excluding standards and neg pcr ctrl)
Overage | 1.2 | % over recommended to ensure enough volume for pipetting |  |  | RUN NOTES
RXN CALCULATOR |  |  | Added?
Sample MM1 | 1X | Total Reaction
TNA lysis buffer | 60 | 3888 | FALSE
linear acrylamide | 1 | 64.8 | FALSE
isopropanol | 70 | 4536 | FALSE
total | 131 | 8488.8
Mini MM tube # and V | 8 | 1061.1
Sample MM2 | 1X | Total Reaction
MagBind beads | 5 | 324 | FALSE
proteinase K | 5 | 324 | FALSE
total | 10 | 648 | FALSE
Mini MM tube # and V | 8 | 81
Other Plates | 1x | Total (SPR doubled)
SPRx2 | 200 | 25920 | FALSE |  | use the space above to write any anomalies with the run as a whole or notes about particular samples.
VHB | 200 | 12960 | FALSE
h20 ELution | 50 | 3240 | FALSE

## pcr
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | CSU-22107 | RMRP-00438 | RMRP-00446 | RMRP-00454 | BOU-00214 | CDC-044 | CDC-052 |  |  |  |  | wnv_std_1e6
B | CSU-22108 | RMRP-00439 | RMRP-00447 | RMRP-00455 | BOU-00215 | CDC-045 | CDC-053 |  |  |  |  | wnv_std_1e4
C | CSU-22109 | RMRP-00440 | RMRP-00448 | RMRP-00456 | CDC-038 | CDC-046 | CDC-054 |  |  |  |  | wnv_std_1e2
D | CSU-22110 | RMRP-00441 | RMRP-00449 | RMRP-00457 | CDC-039 | CDC-047 | CDC-055 |  |  |  |  | slev_std_1e6
E | CSU-22111 | RMRP-00442 | RMRP-00450 | RMRP-00458 | CDC-040 | CDC-048 | pos rna ctrl |  |  |  |  | slev_std_1e4
F | RMRP-00435 | RMRP-00443 | RMRP-00451 | BOU-00211 | CDC-041 | CDC-049 | [5 empty] | slev_std_1e2
G | RMRP-00436 | RMRP-00444 | RMRP-00452 | BOU-00212 | CDC-042 | CDC-050 | [5 empty] | neg h2O pcr ctrl
H | RMRP-00437 | RMRP-00445 | RMRP-00453 | BOU-00213 | CDC-043 | CDC-051 | [5 empty] | neg rna ctrl
|  |  |  | full protocol here -----------------------> |  | SS - Multiplex qRT-PCR
SUPPLIES |  |  |  | PROTOCOL CHECKLIST
Machine/Reagent | Group | Lot/ID |  | changed pipettes between samples |  |  |  | TRUE
Quantstudio | FoCo | NA |  | neg pcr control added |  |  |  | TRUE
Mastermix | FoCo | 2881788 |  | standards added |  |  |  | TRUE
primer probe | FoCo | NA |  | Reagents put back in -4 C |  |  |  | TRUE
RT enzyme | FoCo | 2904535 |  | baseline threshold changed to 34000 and hit Analyze |  |  |  | TRUE
|  |  |  | Export .xls file with named "Plate #" in the file name |  |  |  | TRUE
RXN INPUT |  |  |  | RUN NOTES
N samples | 53 | non blank values in platemap
Overage | 1.2 | % over recommended to ensure enough volume for pipetting
RXN CALCULATOR
MM1 Reagent | 1X | Total Reaction | Added?
Mastermix | 10 | 636 | TRUE
Primer probe | 4 | 254.4 | TRUE
RT | 1 | 63.6 | TRUE
total | 15 | 954
Mini MM tube # and V | 8 | 119.25
use the space above to write any anomalies with the run as a whole or notes about particular samples.