## instructions
Step | NAME | DESCRIPTION
1 | COPY | make a copy of this and put it in the "weekly_report_input_folder" that corresponds to the correct year and week.
2 | RENAME | Replace the # with the appropriate year, week and plate numbers in the name. Example year 24, week 28 plate 2: SS_y24_w28_p2_rna_extract_and_pcr_notebook
3 | PASTE | paste your platemap into the appropriate location in the rna and/or pcr sheet
4 | COMPLETE | Fill out all highlighted sections and rename this copied file with the "plate # or p#" in the title. This will be the platemap input in the pipeline
| * | Don't change the names of the sheets

## rna_extraction
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | CSU22571 | CSU22579 | CSU22587 | CSU22595 | CSU22603 | CSU22611 | CSU22619 | CSU22627 | CSU22635 | CSU22643 | CSU22651 | wnv_std_1e6
B | CSU22572 | CSU22580 | CSU22588 | CSU22596 | CSU22604 | CSU22612 | CSU22620 | CSU22628 | CSU22636 | CSU22644 | CSU22652 | wnv_std_1e4
C | CSU22573 | CSU22581 | CSU22589 | CSU22597 | CSU22605 | CSU22613 | CSU22621 | CSU22629 | CSU22637 | CSU22645 | CSU22653 | wnv_std_1e2
D | CSU22574 | CSU22582 | CSU22590 | CSU22598 | CSU22606 | CSU22614 | CSU22622 | CSU22630 | CSU22638 | CSU22646 | CSU22654 | slev_std_1e6
E | CSU22575 | CSU22583 | CSU22591 | CSU22599 | CSU22607 | CSU22615 | CSU22623 | CSU22631 | CSU22639 | CSU22647 | CSU22655 | slev_std_1e4
F | CSU22576 | CSU22584 | CSU22592 | CSU22600 | CSU22608 | CSU22616 | CSU22624 | CSU22632 | CSU22640 | CSU22648 | CSU22656 | slev_std_1e2
G | CSU22577 | CSU22585 | CSU22593 | CSU22601 | CSU22609 | CSU22617 | CSU22625 | CSU22633 | CSU22641 | CSU22649 | CSU22657 | neg pcr ctrl
H | CSU22578 | CSU22586 | CSU22594 | CSU22602 | CSU22610 | CSU22618 | CSU22626 | CSU22634 | CSU22642 | CSU22650 | CSU22658 | neg extract ctl
[5 empty] | full protocol here -----------------------> |  | SS - RNA extraction
YOUR NAME |  | Catalina |  |  | PROTOCOL CHECKLIST
[5 empty] | take samples out of freezer to thaw |  |  |  | TRUE
SUPPLIES |  |  |  |  | ethanol added to SPR (check mark on bottle) |  |  |  | TRUE
Machine/Reagent | Group | Lot/ID |  |  | ethanol added to VHB (check mark on bottle) |  |  |  | TRUE
[5 empty] | positve and negative extraction controls added |  |  |  | TRUE
Kingfisher | FoCo | NA |  |  | pipettes changed between samples |  |  |  | TRUE
TNA Lysis Buffer | FoCo | 34905ge140 |  |  | beads at room temp |  |  |  | TRUE
Isopropanol | FoCo | 234091 |  |  | beads vortexed |  |  |  | TRUE
Proteanase K | FoCo | 57571en53 |  |  | beads and proteanase K thoroughly mixed prior to dispensing |  |  |  | TRUE
linear acrylamide | FoCo | 2937190 |  |  | maintenance plate run done prior to sample run |  |  |  | TRUE
magbind beads | FoCo | 52526cy127 |  |  | A1 of sample plate oriented to A1 in machine |  |  |  | TRUE
SPR | FoCo | 32990fw58 |  |  | Return tip plate to top of robot |  |  |  | FALSE
VHB | FoCo | 36814gg167 |  |  | VHB, SPR and SAMPLE Plates liquid in sink plates in gargabe |  |  |  | FALSE
dfh20 | FoCo | 54299dy80 |  |  | Elution plate sealed with microseal B and in freezer/fridge or immediately processed |  |  |  | FALSE
RXN INPUT |  |  |  |  | RUN NOTES
N samples | 89 | (non blank values in platemap, excluding standards and neg pcr ctrl)
Overage | 1.2 | % over recommended to ensure enough volume for pipetting |  |  | 12A has pos cntrl, 11H has sample CSU22658. Sample CSU22658 will be moved to well ___ on plate 2 for pcr, and well 11H on pcr plate 1 will be the rna ext pos control
RXN CALCULATOR
Sample MM1 | 1X | Total Reaction | Added?
TNA lysis buffer | 60 | 6408 | TRUE
linear acrylamide | 1 | 106.8 | TRUE
isopropanol | 70 | 7476 | TRUE
total | 131 | 13990.8
Mini MM tube # and V | 8 | 1748.85
Sample MM2 | 1X | Total Reaction
MagBind beads | 5 | 534 | TRUE
proteinase K | 5 | 534 | TRUE
total | 10 | 1068 | TRUE
Mini MM tube # and V | 8 | 133.5
use the space above to write any anomalies with the run as a whole or notes about particular samples.
Other Plates | 1x | Total (SPR doubled)
SPRx2 | 200 | 42720 | TRUE
VHB | 200 | 21360 | TRUE
h20 Elution | 50 | 5340 | TRUE

## pcr
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | CSU-22571 | CSU-22579 | CSU-22587 | CSU-22595 | CSU-22603 | CSU-22611 | CSU-22619 | CSU-22627 | CSU-22635 | CSU-22643 | CSU-22651 | wnv_std_1e6
B | CSU-22572 | CSU-22580 | CSU-22588 | CSU-22596 | CSU-22604 | CSU-22612 | CSU-22620 | CSU-22628 | CSU-22636 | CSU-22644 | CSU-22652 | wnv_std_1e4
C | CSU-22573 | CSU-22581 | CSU-22589 | CSU-22597 | CSU-22605 | CSU-22613 | CSU-22621 | CSU-22629 | CSU-22637 | CSU-22645 | CSU-22653 | wnv_std_1e2
D | CSU-22574 | CSU-22582 | CSU-22590 | CSU-22598 | CSU-22606 | CSU-22614 | CSU-22622 | CSU-22630 | CSU-22638 | CSU-22646 | CSU-22654 | slev_std_1e6
E | CSU-22575 | CSU-22583 | CSU-22591 | CSU-22599 | CSU-22607 | CSU-22615 | CSU-22623 | CSU-22631 | CSU-22639 | CSU-22647 | CSU-22655 | slev_std_1e4
F | CSU-22576 | CSU-22584 | CSU-22592 | CSU-22600 | CSU-22608 | CSU-22616 | CSU-22624 | CSU-22632 | CSU-22640 | CSU-22648 | CSU-22656 | slev_std_1e2
G | CSU-22577 | CSU-22585 | CSU-22593 | CSU-22601 | CSU-22609 | CSU-22617 | CSU-22625 | CSU-22633 | CSU-22641 | CSU-22649 | CSU-22657 | neg pcr ctrl
H | CSU-22578 | CSU-22586 | CSU-22594 | CSU-22602 | CSU-22610 | CSU-22618 | CSU-22626 | CSU-22634 | CSU-22642 | CSU-22650 | pos ext ctl | neg extract ctl
YOUR NAME |  | Catalina
|  |  |  | full protocol here -----------------------> |  | SS - Multiplex qRT-PCR
SUPPLIES |  |  |  | PROTOCOL CHECKLIST
Machine/Reagent | Group | Lot/ID |  | changed pipettes between samples |  |  |  | TRUE
Quantstudio | FoCo | NA |  | neg pcr control added |  |  |  | TRUE
Mastermix | FoCo | 2588173,2881788 |  | standards added |  |  |  | TRUE
primer probe | FoCo | NA |  | Reagents put back in -4 C |  |  |  | TRUE
RT enzyme | FoCo | 2904535 |  | baseline threshold changed to 34000 and hit Analyze |  |  |  | TRUE
|  |  |  | Export .xls file with named "SS-y##-w#-p#-pcr" |  |  |  | FALSE
RXN INPUT |  |  |  | RUN NOTES
N samples | 96 | non blank values in platemap
Overage | 1.2 | % over recommended to ensure enough volume for pipetting
RXN CALCULATOR
MM1 Reagent | 1X | Total Reaction
Mastermix | 10 | 1152
Primer probe | 4 | 460.8
RT | 1 | 115.2
total | 15 | 1728
Mini MM tube # and V | 8 | 216
use the space above to write any anomalies with the run as a whole or notes about particular samples.