## instructions
Step | NAME | DESCRIPTION
1 | COPY | make a copy of this and put it in the "weekly_report_input_folder" that corresponds to the correct year and week.
2 | RENAME | Replace the # with the appropriate year, week and plate numbers in the name. Example year 24, week 28 plate 2: SS_y24_w28_p2_rna_extract_and_pcr_notebook
3 | PASTE | paste your platemap into the appropriate location in the rna and/or pcr sheet
4 | COMPLETE | Fill out all highlighted sections and rename this copied file with the "plate # or p#" in the title. This will be the platemap input in the pipeline
| * | Don't change the names of the sheets

## rna_extraction
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | CSU22659 | CSU22667 | CSU22675 | BOU00237 | CDC155 | CDC163 | RMRP00551 | RMRP00559 | RMRP00567 | RMRP00575 |  | wnv_std_1e6
B | CSU22660 | CSU22668 | CSU22676 | BOU00238 | CDC156 | CDC164 | RMRP00552 | RMRP00560 | RMRP00568 | RMRP00576 |  | wnv_std_1e4
C | CSU22661 | CSU22669 | CSU22677 | BOU00239 | CDC157 | CDC165 | RMRP00553 | RMRP00561 | RMRP00569 | RMRP00577 |  | wnv_std_1e2
D | CSU22662 | CSU22670 | CSU22678 | BOU00240 | CDC158 | CDC166 | RMRP00554 | RMRP00562 | RMRP00570 | RMRP00578 |  | slev_std_1e6
E | CSU22663 | CSU22671 | CSU22679 | CDC151 | CDC159 | CDC167 | RMRP00555 | RMRP00563 | RMRP00571 | RMRP00579 |  | slev_std_1e4
F | CSU22664 | CSU22672 | CSU22680 | CDC152 | CDC160 | CDC168 | RMRP00556 | RMRP00564 | RMRP00572 | RMRP00580 |  | slev_std_1e2
G | CSU22665 | CSU22673 | CSU22681 | CDC153 | CDC161 | CDC169 | RMRP00557 | RMRP00565 | RMRP00573 |  |  | neg pcr ctrl
H | CSU22666 | CSU22674 | BOU00236 | CDC154 | CDC162 | RMRP00550 | RMRP00558 | RMRP00566 | RMRP00574 | pos rna ctrl |  | neg extract ctl
[5 empty] | full protocol here -----------------------> |  | SS - RNA extraction
YOUR NAME |  | Catalina |  |  | PROTOCOL CHECKLIST
[5 empty] | take samples out of freezer to thaw |  |  |  | TRUE
SUPPLIES |  |  |  |  | ethanol added to SPR (check mark on bottle) |  |  |  | TRUE
Machine/Reagent | Group | Lot/ID |  |  | ethanol added to VHB (check mark on bottle) |  |  |  | TRUE
[5 empty] | positve and negative extraction controls added |  |  |  | TRUE
Kingfisher | FoCo | NA |  |  | pipettes changed between samples |  |  |  | TRUE
TNA Lysis Buffer | FoCo | 34905ge140 |  |  | beads at room temp |  |  |  | TRUE
Isopropanol | FoCo | 234091 |  |  | beads vortexed |  |  |  | TRUE
Proteanase K | FoCo | 57571en53 |  |  | beads and proteanase K thoroughly mixed prior to dispensing |  |  |  | TRUE
linear acrylamide | FoCo | 2937190 |  |  | maintenance plate run done prior to sample run |  |  |  | TRUE
magbind beads | FoCo | 52526cy127 |  |  | A1 of sample plate oriented to A1 in machine |  |  |  | TRUE
SPR | FoCo | 32990fw58 |  |  | Return tip plate to top of robot |  |  |  | FALSE
VHB | FoCo | 36814gg167 |  |  | VHB, SPR and SAMPLE Plates liquid in sink plates in gargabe |  |  |  | FALSE
dfh20 | FoCo | 54299dy80 |  |  | Elution plate sealed with microseal B and in freezer/fridge or immediately processed |  |  |  | FALSE
RXN INPUT |  |  |  |  | RUN NOTES
N samples | 80 | (non blank values in platemap, excluding standards and neg pcr ctrl)
Overage | 1.2 | % over recommended to ensure enough volume for pipetting
RXN CALCULATOR
Sample MM1 | 1X | Total Reaction | Added?
TNA lysis buffer | 60 | 5760 | TRUE
linear acrylamide | 1 | 96 | TRUE
isopropanol | 70 | 6720 | TRUE
total | 131 | 12576
Mini MM tube # and V | 8 | 1572
Sample MM2 | 1X | Total Reaction
MagBind beads | 5 | 480 | TRUE
proteinase K | 5 | 480 | TRUE
total | 10 | 960 | TRUE
Mini MM tube # and V | 8 | 120
use the space above to write any anomalies with the run as a whole or notes about particular samples.
Other Plates | 1x | Total (SPR doubled)
SPRx2 | 200 | 38400 | TRUE
VHB | 200 | 19200 | TRUE
h20 Elution | 50 | 4800 | TRUE

## pcr
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | CSU-22659 | CSU-22667 | CSU-22675 | BOU-00237 | CDC-155 | CDC-163 | RMRP00551 | RMRP00559 | RMRP00567 | RMRP00575 |  | wnv_std_1e6
B | CSU-22660 | CSU-22668 | CSU-22676 | BOU-00238 | CDC-156 | CDC-164 | RMRP00552 | RMRP00560 | RMRP00568 | RMRP00576 |  | wnv_std_1e4
C | CSU-22661 | CSU-22669 | CSU-22677 | BOU-00239 | CDC-157 | CDC-165 | RMRP00553 | RMRP00561 | RMRP00569 | RMRP00577 |  | wnv_std_1e2
D | CSU-22662 | CSU-22670 | CSU-22678 | BOU-00240 | CDC-158 | CDC-166 | RMRP00554 | RMRP00562 | RMRP00570 | RMRP00578 |  | slev_std_1e6
E | CSU-22663 | CSU-22671 | CSU-22679 | CDC-151 | CDC-159 | CDC-167 | RMRP00555 | RMRP00563 | RMRP00571 | RMRP00579 |  | slev_std_1e4
F | CSU-22664 | CSU-22672 | CSU-22680 | CDC-152 | CDC-160 | CDC-168 | RMRP00556 | RMRP00564 | RMRP00572 | RMRP00580 |  | slev_std_1e2
G | CSU-22665 | CSU-22673 | CSU-22681 | CDC-153 | CDC-161 | CDC-169 | RMRP00557 | RMRP00565 | RMRP00573 | CSU-22658 |  | neg h2O pcr ctrl
H | CSU-22666 | CSU-22674 | BOU-00236 | CDC-154 | CDC-162 | RMRP00550 | RMRP00558 | RMRP00566 | RMRP00574 | pos rna ctrl |  | neg rna ctrl
YOUR NAME |  | Catalina
|  |  |  | full protocol here -----------------------> |  | SS - Multiplex qRT-PCR
SUPPLIES |  |  |  | PROTOCOL CHECKLIST
Machine/Reagent | Group | Lot/ID |  | changed pipettes between samples |  |  |  | TRUE
Quantstudio | FoCo | NA |  | neg pcr control added |  |  |  | TRUE
Mastermix | FoCo | 2588173,2881788 |  | standards added |  |  |  | TRUE
primer probe | FoCo | NA |  | Reagents put back in -4 C |  |  |  | TRUE
RT enzyme | FoCo | 2904535 |  | baseline threshold changed to 34000 and hit Analyze |  |  |  | TRUE
|  |  |  | Export .xls file with named "SS-y##-w#-p#-pcr" |  |  |  | TRUE
RXN INPUT |  |  |  | RUN NOTES
N samples | 88 | non blank values in platemap |  | CSU22658 is from well 11H on rnaextplate1
Overage | 1.2 | % over recommended to ensure enough volume for pipetting
RXN CALCULATOR
MM1 Reagent | 1X | Total Reaction
Mastermix | 10 | 1056
Primer probe | 4 | 422.4
RT | 1 | 105.6
total | 15 | 1584
Mini MM tube # and V | 8 | 198
use the space above to write any anomalies with the run as a whole or notes about particular samples.