## instructions
Step | NAME | DESCRIPTION
1 | COPY | make a copy of this and put it in the "weekly_report_input_folder" that corresponds to the correct year and week.
2 | RENAME | Replace the # with the appropriate year, week and plate numbers in the name. Example year 24, week 28 plate 2: SS_y24_w28_p2_rna_extract_and_pcr_notebook
3 | PASTE | paste your platemap into the appropriate location in the rna and/or pcr sheet
4 | COMPLETE | Fill out all highlighted sections and rename this copied file with the "plate # or p#" in the title. This will be the platemap input in the pipeline
| * | Don't change the names of the sheets

## rna_extraction
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | CSU-22886 | CSU-22894 | CSU-22902 | CSU-22910 | CDC-189 | CDC-199 | BOU-00247 | RMRP-00610 | RMRP-00618 |  |  | wnv_std_1e6
B | CSU-22887 | CSU-22895 | CSU-22903 | CSU-22911 | CDC-190 | CDC-200 | BOU-00248 | RMRP-00611 | RMRP-00619 |  |  | wnv_std_1e4
C | CSU-22888 | CSU-22896 | CSU-22904 | CSU-22912 | CDC-191 | CDC-201 | BOU-00249 | RMRP-00612 | RMRP-00620 |  |  | wnv_std_1e2
D | CSU-22889 | CSU-22897 | CSU-22905 | CSU-22913 | CDC-192 | CDC-202 | BOU-00250 | RMRP-00613 | RMRP-00621 |  |  | slev_std_1e6
E | CSU-22890 | CSU-22898 | CSU-22906 | CSU-22914 | CDC-193 | CDC-203 | RMRP-00606 | RMRP-00614 | RMRP-00622 |  |  | slev_std_1e4
F | CSU-22891 | CSU-22899 | CSU-22907 | CSU-22915 | CDC-194 | CDC-204 | RMRP-00607 | RMRP-00615 |  |  |  | slev_std_1e2
G | CSU-22892 | CSU-22900 | CSU-22908 | CDC-186 | CDC-197 | CDC-205 | RMRP-00608 | RMRP-00616 | pos ext ctl |  |  | neg pcr ctrl
H | CSU-22893 | CSU-22901 | CSU-22909 | CDC-188 | CDC-198 | BOU-00246 | RMRP-00609 | RMRP-00617 | neg ext ctl
[5 empty] | full protocol here -----------------------> |  | SS - RNA extraction
YOUR NAME |  | Catalina |  |  | PROTOCOL CHECKLIST
[5 empty] | take samples out of freezer to thaw |  |  |  | FALSE
SUPPLIES |  |  |  |  | ethanol added to SPR (check mark on bottle) |  |  |  | FALSE
Machine/Reagent | Group | Lot/ID |  |  | ethanol added to VHB (check mark on bottle) |  |  |  | FALSE
[5 empty] | positve and negative extraction controls added |  |  |  | FALSE
Kingfisher | FoCo | NA |  |  | pipettes changed between samples |  |  |  | FALSE
TNA Lysis Buffer | FoCo |  |  |  | beads at room temp |  |  |  | FALSE
Isopropanol | FoCo |  |  |  | beads vortexed |  |  |  | FALSE
Proteanase K | FoCo |  |  |  | beads and proteanase K thoroughly mixed prior to dispensing |  |  |  | FALSE
linear acrylamide | FoCo |  |  |  | maintenance plate run done prior to sample run |  |  |  | FALSE
magbind beads | FoCo |  |  |  | A1 of sample plate oriented to A1 in machine |  |  |  | FALSE
SPR | FoCo |  |  |  | Return tip plate to top of robot |  |  |  | FALSE
VHB | FoCo |  |  |  | VHB, SPR and SAMPLE Plates liquid in sink plates in gargabe |  |  |  | FALSE
dfh20 | FoCo |  |  |  | Elution plate sealed with microseal B and in freezer/fridge or immediately processed |  |  |  | FALSE
RXN INPUT |  |  |  |  | RUN NOTES
N samples | 71 | (non blank values in platemap, excluding standards and neg pcr ctrl)
Overage | 1.2 | % over recommended to ensure enough volume for pipetting
RXN CALCULATOR
Sample MM1 | 1X | Total Reaction | Added?
TNA lysis buffer | 60 | 5112 | FALSE
linear acrylamide | 1 | 85.2 | FALSE
isopropanol | 70 | 5964 | FALSE
total | 131 | 11161.2
Mini MM tube # and V | 8 | 1395.15
Sample MM2 | 1X | Total Reaction
MagBind beads | 5 | 426 | FALSE
proteinase K | 5 | 426 | FALSE
total | 10 | 852 | FALSE
Mini MM tube # and V | 8 | 106.5
use the space above to write any anomalies with the run as a whole or notes about particular samples.
Other Plates | 1x | Total (SPR doubled)
SPRx2 | 200 | 34080 | TRUE
VHB | 200 | 17040 | TRUE
h20 Elution | 50 | 4260 | TRUE

## pcr
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | CSU-22886 | CSU-22894 | CSU-22902 | CSU-22910 | CDC-189 | CDC-199 | BOU-00247 | RMRP-00610 | RMRP-00618 |  |  | wnv_std_1e6
B | CSU-22887 | CSU-22895 | CSU-22903 | CSU-22911 | CDC-190 | CDC-200 | BOU-00248 | RMRP-00611 | RMRP-00619 |  |  | wnv_std_1e4
C | CSU-22888 | CSU-22896 | CSU-22904 | CSU-22912 | CDC-191 | CDC-201 | BOU-00249 | RMRP-00612 | RMRP-00620 |  |  | wnv_std_1e2
D | CSU-22889 | CSU-22897 | CSU-22905 | CSU-22913 | CDC-192 | CDC-202 | BOU-00250 | RMRP-00613 | RMRP-00621 |  |  | slev_std_1e6
E | CSU-22890 | CSU-22898 | CSU-22906 | CSU-22914 | CDC-193 | CDC-203 | RMRP-00606 | RMRP-00614 | RMRP-00622 |  |  | slev_std_1e4
F | CSU-22891 | CSU-22899 | CSU-22907 | CSU-22915 | CDC-194 | CDC-204 | RMRP-00607 | RMRP-00615 |  |  |  | slev_std_1e2
G | CSU-22892 | CSU-22900 | CSU-22908 | CDC-186 | CDC-197 | CDC-205 | RMRP-00608 | RMRP-00616 | pos ext ctl |  |  | neg pcr ctrl
H | CSU-22893 | CSU-22901 | CSU-22909 | CDC-188 | CDC-198 | BOU-00246 | RMRP-00609 | RMRP-00617 | neg ext ctl
YOUR NAME |  | Kara
|  |  |  | full protocol here -----------------------> |  | SS - Multiplex qRT-PCR
SUPPLIES |  |  |  | PROTOCOL CHECKLIST
Machine/Reagent | Group | Lot/ID |  | changed pipettes between samples |  |  |  | TRUE
Quantstudio | Ebel | NA |  | neg pcr control added |  |  |  | TRUE
Mastermix | FoCo |  |  | standards added |  |  |  | TRUE
primer probe | FoCo | NA |  | Reagents put back in -4 C |  |  |  | TRUE
RT enzyme | FoCo |  |  | baseline threshold changed to 34000 and hit Analyze |  |  |  | TRUE
|  |  |  | Export .xls file with named "SS-y##-w#-p#-pcr" |  |  |  | TRUE
RXN INPUT |  |  |  | RUN NOTES
N samples | 78 | non blank values in platemap
Overage | 1.2 | % over recommended to ensure enough volume for pipetting
RXN CALCULATOR
MM1 Reagent | 1X | Total Reaction
Mastermix | 10 | 936
Primer probe | 4 | 374.4
RT | 1 | 93.6
total | 15 | 1404
Mini MM tube # and V | 8 | 175.5
use the space above to write any anomalies with the run as a whole or notes about particular samples.