## instructions
Step | NAME | DESCRIPTION
1 | COPY | make a copy of this and put it in the "weekly_report_input_folder" that corresponds to the correct year and week.
2 | RENAME | Replace the # with the appropriate year, week and plate numbers in the name. Example year 24, week 28 plate 2: SS_y24_w28_p2_rna_extract_and_pcr_notebook
3 | PASTE | paste your platemap into the appropriate location in the rna and/or pcr sheet
4 | COMPLETE | Fill out all highlighted sections and rename this copied file with the "plate # or p#" in the title. This will be the platemap input in the pipeline
| * | Don't change the names of the sheets

## rna_extraction
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | CSU-23003 | CSU-23011 | CSU-23019 | BOU-00253 | [7 empty] | wnv_std_1e6
B | CSU-23004 | CSU-23012 | CSU-23020 | BOU-00254 | [7 empty] | wnv_std_1e4
C | CSU-23005 | CSU-23013 | CSU-23021 | BOU-00255 | [7 empty] | wnv_std_1e2
D | CSU-23006 | CSU-23014 | CSU-23022 | [8 empty] | slev_std_1e6
E | CSU-23007 | CSU-23015 | CSU-23023 | [8 empty] | slev_std_1e4
F | CSU-23008 | CSU-23016 | CSU-23024 | [8 empty] | slev_std_1e2
G | CSU-23009 | CSU-23017 | BOU-00251 | [8 empty] | neg pcr ctrl
H | CSU-23010 | CSU-23018 | BOU-00252 | [7 empty] | pos extract ctl | neg extract ctl
[5 empty] | full protocol here -----------------------> |  | SS - RNA extraction
YOUR NAME |  | Kara |  |  | PROTOCOL CHECKLIST
[5 empty] | take samples out of freezer to thaw |  |  |  | TRUE
SUPPLIES |  |  |  |  | ethanol added to SPR (check mark on bottle) |  |  |  | TRUE
Machine/Reagent | Group | Lot/ID |  |  | ethanol added to VHB (check mark on bottle) |  |  |  | TRUE
[5 empty] | positve and negative extraction controls added |  |  |  | TRUE
Kingfisher | Ebel | NA |  |  | pipettes changed between samples |  |  |  | TRUE
TNA Lysis Buffer | FoCo |  |  |  | beads at room temp |  |  |  | TRUE
Isopropanol | FoCo |  |  |  | beads vortexed |  |  |  | TRUE
Proteanase K | FoCo |  |  |  | beads and proteanase K thoroughly mixed prior to dispensing |  |  |  | TRUE
linear acrylamide | FoCo |  |  |  | maintenance plate run done prior to sample run |  |  |  | TRUE
magbind beads | FoCo |  |  |  | A1 of sample plate oriented to A1 in machine |  |  |  | TRUE
SPR | FoCo |  |  |  | Return tip plate to top of robot |  |  |  | TRUE
VHB | FoCo |  |  |  | VHB, SPR and SAMPLE Plates liquid in sink plates in gargabe |  |  |  | TRUE
dfh20 | FoCo |  |  |  | Elution plate sealed with microseal B and in freezer/fridge or immediately processed |  |  |  | TRUE
RXN INPUT |  |  |  |  | RUN NOTES
N samples | 29 | (non blank values in platemap, excluding standards and neg pcr ctrl)
Overage | 1.2 | % over recommended to ensure enough volume for pipetting
RXN CALCULATOR
Sample MM1 | 1X | Total Reaction | Added?
TNA lysis buffer | 60 | 2088 | TRUE
linear acrylamide | 1 | 34.8 | TRUE
isopropanol | 70 | 2436 | TRUE
total | 131 | 4558.8
Mini MM tube # and V | 8 | 569.85
Sample MM2 | 1X | Total Reaction
MagBind beads | 5 | 174 | TRUE
proteinase K | 5 | 174 | TRUE
total | 10 | 348 | TRUE
Mini MM tube # and V | 8 | 43.5
use the space above to write any anomalies with the run as a whole or notes about particular samples.
Other Plates | 1x | Total (SPR doubled)
SPRx2 | 200 | 13920 | TRUE
VHB | 200 | 6960 | TRUE
h20 Elution | 50 | 1740 | TRUE

## pcr
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | CSU-23003 | CSU-23011 | CSU-23019 | BOU-00253 | RMRP-00628 | RMRP-00636 |  |  | CDC-206 |  |  | wnv_std_1e6
B | CSU-23004 | CSU-23012 | CSU-23020 | BOU-00254 | RMRP-00629 | RMRP-00637 |  |  | CDC-207 |  |  | wnv_std_1e4
C | CSU-23005 | CSU-23013 | CSU-23021 | BOU-00255 | RMRP-00630 | RMRP-00638 |  |  | CDC-208 |  |  | wnv_std_1e2
D | CSU-23006 | CSU-23014 | CSU-23022 | RMRP-00623 | RMRP-00631 | RMRP-00639 |  |  | CDC-209 |  |  | slev_std_1e6
E | CSU-23007 | CSU-23015 | CSU-23023 | RMRP-00624 | RMRP-00632 | RMRP-00640 |  |  | CDC-210 |  |  | slev_std_1e4
F | CSU-23008 | CSU-23016 | CSU-23024 | RMRP-00625 | RMRP-00633 |  |  |  | CDC-211 |  |  | slev_std_1e2
G | CSU-23009 | CSU-23017 | BOU-00251 | RMRP-00626 | RMRP-00634 |  |  |  | CDC-212 |  |  | neg pcr ctrl
H | CSU-23010 | CSU-23018 | BOU-00252 | RMRP-00627 | RMRP-00635 |  |  |  | CDC-213 |  | pos extract ctl | neg extract ctl
YOUR NAME |  | Catalina
|  |  |  | full protocol here -----------------------> |  | SS - Multiplex qRT-PCR
SUPPLIES |  |  |  | PROTOCOL CHECKLIST
Machine/Reagent | Group | Lot/ID |  | changed pipettes between samples |  |  |  | TRUE
Quantstudio | FoCo | NA |  | neg pcr control added |  |  |  | TRUE
Mastermix | FoCo | 2588173 |  | standards added |  |  |  | TRUE
primer probe | FoCo | NA |  | Reagents put back in -4 C |  |  |  | TRUE
RT enzyme | FoCo | 2904535 |  | baseline threshold changed to 34000 and hit Analyze |  |  |  | TRUE
|  |  |  | Export .xls file with named "SS-y##-w#-p#-pcr" |  |  |  | TRUE
RXN INPUT |  |  |  | RUN NOTES
N samples | 62 | non blank values in platemap |  | CDC samples extracted through column not on plate
Overage | 1.2 | % over recommended to ensure enough volume for pipetting
RXN CALCULATOR
MM1 Reagent | 1X | Total Reaction
Mastermix | 10 | 744
Primer probe | 4 | 297.6
RT | 1 | 74.4
total | 15 | 1116
Mini MM tube # and V | 8 | 139.5
use the space above to write any anomalies with the run as a whole or notes about particular samples.