## instructions
Step | NAME | DESCRIPTION
1 | COPY | make a copy of this and put it in the "weekly_report_input_folder" that corresponds to the correct year and week.
2 | RENAME | Replace the # with the appropriate year, week and plate numbers in the name. Example year 24, week 28 plate 2: SS_y24_w28_p2_rna_extract_and_pcr_notebook
3 | PASTE | paste your platemap into the appropriate location in the rna and/or pcr sheet
4 | COMPLETE | Fill out all highlighted sections and rename this copied file with the "plate # or p#" in the title. This will be the platemap input in the pipeline
| * | Don't change the names of the sheets

## rna_extraction
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | CSU-22199 | CSU-22207 | CSU-22215 | CDC-060 | CDC-068 | BOU-00217 | RMRP-00463 | RMRP-00471 | RMRP-00479 | RMRP-00487 |  | wnv_std_1e6
B | CSU-22200 | CSU-22208 | CSU-22216 | CDC-061 | CDC-069 | BOU-00218 | RMRP-00464 | RMRP-00472 | RMRP-00480 | RMRP-00488 |  | wnv_std_1e4
C | CSU-22201 | CSU-22209 | CSU-22217 | CDC-062 | CDC-070 | BOU-00219 | RMRP-00465 | RMRP-00473 | RMRP-00481 | RMRP-00489 |  | wnv_std_1e2
D | CSU-22202 | CSU-22210 | CSU-22218 | CDC-063 | CDC-071 | BOU-00220 | RMRP-00466 | RMRP-00474 | RMRP-00482 | RMRP-00490 |  | slev_std_1e6
E | CSU-22203 | CSU-22211 | CDC-056 | CDC-064 | CDC-072 | RMRP-00459 | RMRP-00467 | RMRP-00475 | RMRP-00483 |  |  | slev_std_1e4
F | CSU-22204 | CSU-22212 | CDC-057 | CDC-065 | CDC-073 | RMRP-00460 | RMRP-00468 | RMRP-00476 | RMRP-00484 |  |  | slev_std_1e2
G | CSU-22205 | CSU-22213 | CDC-058 | CDC-066 | CDC-074 | RMRP-00461 | RMRP-00469 | RMRP-00477 | RMRP-00485 |  |  | neg h2O pcr ctrl
H | CSU-22206 | CSU-22214 | CDC-059 | CDC-067 | BOU-00216 | RMRP-00462 | RMRP-00470 | RMRP-00478 | RMRP-00486 |  | pos rna ctrl | neg rna ctrl
[5 empty] | full protocol here -----------------------> |  | SS - RNA extraction
YOUR NAME |  |  |  |  | PROTOCOL CHECKLIST
[5 empty] | take samples out of freezer to thaw |  |  |  | TRUE
SUPPLIES |  |  |  |  | ethanol added to SPR (check mark on bottle) |  |  |  | TRUE
Machine/Reagent | Group | Lot/ID |  |  | ethanol added to VHB (check mark on bottle) |  |  |  | TRUE
[5 empty] | positve and negative extraction controls added |  |  |  | TRUE
Kingfisher | Ebel | NA |  |  | pipettes changed between samples |  |  |  | TRUE
TNA Lysis Buffer | FoCo |  |  |  | beads at room temp |  |  |  | TRUE
Isopropanol | FoCo |  |  |  | beads vortexed |  |  |  | TRUE
Proteanase K | FoCo |  |  |  | beads and proteanase K thoroughly mixed prior to dispensing |  |  |  | TRUE
linear acrylamide | FoCo |  |  |  | maintenance plate run done prior to sample run |  |  |  | TRUE
magbind beads | FoCo |  |  |  | A1 of sample plate oriented to A1 in machine |  |  |  | TRUE
SPR | FoCo |  |  |  | Return tip plate to top of robot |  |  |  | FALSE
VHB | FoCo |  |  |  | VHB, SPR and SAMPLE Plates liquid in sink plates in gargabe |  |  |  | FALSE
dfh20 | FoCo |  |  |  | Elution plate sealed with microseal B and in freezer/fridge or immediately processed |  |  |  | FALSE
RXN INPUT |  |  |  |  | RUN NOTES
N samples | 78 | (non blank values in platemap, excluding standards and neg pcr ctrl)
Overage | 1.2 | % over recommended to ensure enough volume for pipetting
RXN CALCULATOR
Sample MM1 | 1X | Total Reaction | Added?
TNA lysis buffer | 60 | 5616 | TRUE
linear acrylamide | 1 | 93.6 | TRUE
isopropanol | 70 | 6552 | TRUE
total | 131 | 12261.6
Mini MM tube # and V | 8 | 1532.7
Sample MM2 | 1X | Total Reaction
MagBind beads | 5 | 468 | TRUE
proteinase K | 5 | 468 | TRUE
total | 10 | 936 | TRUE
Mini MM tube # and V | 8 | 117
use the space above to write any anomalies with the run as a whole or notes about particular samples.
Other Plates | 1x | Total (SPR doubled)
SPRx2 | 200 | 37440 | TRUE
VHB | 200 | 18720 | TRUE
h20 Elution | 50 | 4680 | TRUE

## pcr
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | CSU-22199 | CSU-22207 | CSU-22215 | CDC-060 | CDC-068 | BOU-00217 | RMRP-00463 | RMRP-00471 | RMRP-00479 | RMRP-00487 |  | wnv_std_1e6
B | CSU-22200 | CSU-22208 | CSU-22216 | CDC-061 | CDC-069 | BOU-00218 | RMRP-00464 | RMRP-00472 | RMRP-00480 | RMRP-00488 |  | wnv_std_1e4
C | CSU-22201 | CSU-22209 | CSU-22217 | CDC-062 | CDC-070 | BOU-00219 | RMRP-00465 | RMRP-00473 | RMRP-00481 | RMRP-00489 |  | wnv_std_1e2
D | CSU-22202 | CSU-22210 | CSU-22218 | CDC-063 | CDC-071 | BOU-00220 | RMRP-00466 | RMRP-00474 | RMRP-00482 | RMRP-00490 |  | slev_std_1e6
E | CSU-22203 | CSU-22211 | CDC-056 | CDC-064 | CDC-072 | RMRP-00459 | RMRP-00467 | RMRP-00475 | RMRP-00483 | pos rna ctrl |  | slev_std_1e4
F | CSU-22204 | CSU-22212 | CDC-057 | CDC-065 | CDC-073 | RMRP-00460 | RMRP-00468 | RMRP-00476 | RMRP-00484 |  |  | slev_std_1e2
G | CSU-22205 | CSU-22213 | CDC-058 | CDC-066 | CDC-074 | RMRP-00461 | RMRP-00469 | RMRP-00477 | RMRP-00485 |  |  | neg h2O pcr ctrl
H | CSU-22206 | CSU-22214 | CDC-059 | CDC-067 | BOU-00216 | RMRP-00462 | RMRP-00470 | RMRP-00478 | RMRP-00486 |  |  | neg rna ctrl
YOUR NAME |  | Catalina
|  |  |  | full protocol here -----------------------> |  | SS - Multiplex qRT-PCR
SUPPLIES |  |  |  | PROTOCOL CHECKLIST
Machine/Reagent | Group | Lot/ID |  | changed pipettes between samples |  |  |  | TRUE
Quantstudio | FoCo | NA |  | neg pcr control added |  |  |  | TRUE
Mastermix | FoCo | 2881788 |  | standards added |  |  |  | TRUE
primer probe | FoCo | NA |  | Reagents put back in -4 C |  |  |  | TRUE
RT enzyme | FoCo | 2904535 |  | baseline threshold changed to 34000 and hit Analyze |  |  |  | TRUE
|  |  |  | Export .xls file with named "SS-y##-w#-p#-pcr" |  |  |  | TRUE
RXN INPUT |  |  |  | RUN NOTES
N samples | 77 | non blank values in platemap |  | 1-10 uL 8 row pipetter was not taking up as much liquid in one of the middle tips
Overage | 1.2 | % over recommended to ensure enough volume for pipetting |  | Manually calculated MM1 ratios to be 1020 mastermix, 408 PP, and 102 RT (20% extra) --> total 1530 uL, made in combination with p1 MM1
Running out of MM1 supplies
RXN CALCULATOR
MM1 Reagent | 1X | Total Reaction
Mastermix | 10 | 924
Primer probe | 4 | 369.6
RT | 1 | 92.4
total | 15 | 1386
Mini MM tube # and V | 8 | 173.25
use the space above to write any anomalies with the run as a whole or notes about particular samples.