## instructions
Step | NAME | DESCRIPTION
1 | COPY | make a copy of this and put it in the "weekly_report_input_folder" that corresponds to the correct year and week.
2 | RENAME | Replace the # with the appropriate year, week and plate numbers in the name. Example year 24, week 28 plate 2: SS_y24_w28_p2_rna_extract_and_pcr_notebook
3 | PASTE | paste your platemap into the appropriate location in the rna and/or pcr sheet
4 | COMPLETE | Fill out all highlighted sections and rename this copied file with the "plate # or p#" in the title. This will be the platemap input in the pipeline
| * | Don't change the names of the sheets

## rna_extraction
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | CSU-22799 | CSU-22807 | CSU-22815 | CSU-22823 | CSU-22831 | CSU-22839 | CSU-22847 | CSU-22855 | CSU-22863 | CSU-22871 | CSU-22879 | wnv_std_1e6
B | CSU-22800 | CSU-22808 | CSU-22816 | CSU-22824 | CSU-22832 | CSU-22840 | CSU-22848 | CSU-22856 | CSU-22864 | CSU-22872 | CSU-22880 | wnv_std_1e4
C | CSU-22801 | CSU-22809 | CSU-22817 | CSU-22825 | CSU-22833 | CSU-22841 | CSU-22849 | CSU-22857 | CSU-22865 | CSU-22873 | CSU-22881 | wnv_std_1e2
D | CSU-22802 | CSU-22810 | CSU-22818 | CSU-22826 | CSU-22834 | CSU-22842 | CSU-22850 | CSU-22858 | CSU-22866 | CSU-22874 | CSU-22882 | slev_std_1e6
E | CSU-22803 | CSU-22811 | CSU-22819 | CSU-22827 | CSU-22835 | CSU-22843 | CSU-22851 | CSU-22859 | CSU-22867 | CSU-22875 | CSU-22883 | slev_std_1e4
F | CSU-22804 | CSU-22812 | CSU-22820 | CSU-22828 | CSU-22836 | CSU-22844 | CSU-22852 | CSU-22860 | CSU-22868 | CSU-22876 | CSU-22884 | slev_std_1e2
G | CSU-22805 | CSU-22813 | CSU-22821 | CSU-22829 | CSU-22837 | CSU-22845 | CSU-22853 | CSU-22861 | CSU-22869 | CSU-22877 | CSU-22885 | neg pcr ctrl
H | CSU-22806 | CSU-22814 | CSU-22822 | CSU-22830 | CSU-22838 | CSU-22846 | CSU-22854 | CSU-22862 | CSU-22870 | CSU-22878 | pos ext ctl | neg extract ctl
[5 empty] | full protocol here -----------------------> |  | SS - RNA extraction
YOUR NAME |  | Catalina |  |  | PROTOCOL CHECKLIST
[5 empty] | take samples out of freezer to thaw |  |  |  | TRUE
SUPPLIES |  |  |  |  | ethanol added to SPR (check mark on bottle) |  |  |  | TRUE
Machine/Reagent | Group | Lot/ID |  |  | ethanol added to VHB (check mark on bottle) |  |  |  | TRUE
[5 empty] | positve and negative extraction controls added |  |  |  | TRUE
Kingfisher | FoCo | NA |  |  | pipettes changed between samples |  |  |  | TRUE
TNA Lysis Buffer | FoCo | 34905GE140 |  |  | beads at room temp |  |  |  | TRUE
Isopropanol | FoCo | 234091 |  |  | beads vortexed |  |  |  | TRUE
Proteanase K | FoCo | 57571EN53 |  |  | beads and proteanase K thoroughly mixed prior to dispensing |  |  |  | TRUE
linear acrylamide | FoCo | 2937190 |  |  | maintenance plate run done prior to sample run |  |  |  | TRUE
magbind beads | FoCo | 52526CY127 |  |  | A1 of sample plate oriented to A1 in machine |  |  |  | FALSE
SPR | FoCo | 32990FW58 |  |  | Return tip plate to top of robot |  |  |  | FALSE
VHB | FoCo | 36814GG167 |  |  | VHB, SPR and SAMPLE Plates liquid in sink plates in gargabe |  |  |  | FALSE
dfh20 | FoCo | 54299DY80 |  |  | Elution plate sealed with microseal B and in freezer/fridge or immediately processed |  |  |  | FALSE
RXN INPUT |  |  |  |  | RUN NOTES
N samples | 89 | (non blank values in platemap, excluding standards and neg pcr ctrl)
Overage | 1.2 | % over recommended to ensure enough volume for pipetting
RXN CALCULATOR
Sample MM1 | 1X | Total Reaction | Added?
TNA lysis buffer | 60 | 6408 | FALSE
linear acrylamide | 1 | 106.8 | FALSE
isopropanol | 70 | 7476 | FALSE
total | 131 | 13990.8
Mini MM tube # and V | 8 | 1748.85
Sample MM2 | 1X | Total Reaction
MagBind beads | 5 | 534 | FALSE
proteinase K | 5 | 534 | FALSE
total | 10 | 1068 | FALSE
Mini MM tube # and V | 8 | 133.5
use the space above to write any anomalies with the run as a whole or notes about particular samples.
Other Plates | 1x | Total (SPR doubled)
SPRx2 | 200 | 42720 | TRUE
VHB | 200 | 21360 | TRUE
h20 Elution | 50 | 5340 | TRUE

## pcr
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | CSU-22799 | CSU-22807 | CSU-22815 | CSU-22823 | CSU-22831 | CSU-22839 | CSU-22847 | CSU-22855 | CSU-22863 | CSU-22871 | CSU-22879 | wnv_std_1e6
B | CSU-22800 | CSU-22808 | CSU-22816 | CSU-22824 | CSU-22832 | CSU-22840 | CSU-22848 | CSU-22856 | CSU-22864 | CSU-22872 | CSU-22880 | wnv_std_1e4
C | CSU-22801 | CSU-22809 | CSU-22817 | CSU-22825 | CSU-22833 | CSU-22841 | CSU-22849 | CSU-22857 | CSU-22865 | CSU-22873 | CSU-22881 | wnv_std_1e2
D | CSU-22802 | CSU-22810 | CSU-22818 | CSU-22826 | CSU-22834 | CSU-22842 | CSU-22850 | CSU-22858 | CSU-22866 | CSU-22874 | CSU-22882 | slev_std_1e6
E | CSU-22803 | CSU-22811 | CSU-22819 | CSU-22827 | CSU-22835 | CSU-22843 | CSU-22851 | CSU-22859 | CSU-22867 | CSU-22875 | CSU-22883 | slev_std_1e4
F | CSU-22804 | CSU-22812 | CSU-22820 | CSU-22828 | CSU-22836 | CSU-22844 | CSU-22852 | CSU-22860 | CSU-22868 | CSU-22876 | CSU-22884 | slev_std_1e2
G | CSU-22805 | CSU-22813 | CSU-22821 | CSU-22829 | CSU-22837 | CSU-22845 | CSU-22853 | CSU-22861 | CSU-22869 | CSU-22877 | CSU-22885 | neg pcr ctrl
H | CSU-22806 | CSU-22814 | CSU-22822 | CSU-22830 | CSU-22838 | CSU-22846 | CSU-22854 | CSU-22862 | CSU-22870 | CSU-22878 | pos ext ctl | neg extract ctl
YOUR NAME |  | Kara
|  |  |  | full protocol here -----------------------> |  | SS - Multiplex qRT-PCR
SUPPLIES |  |  |  | PROTOCOL CHECKLIST
Machine/Reagent | Group | Lot/ID |  | changed pipettes between samples |  |  |  | FALSE
Quantstudio | Ebel | NA |  | neg pcr control added |  |  |  | FALSE
Mastermix | FoCo |  |  | standards added |  |  |  | FALSE
primer probe | FoCo | NA |  | Reagents put back in -4 C |  |  |  | FALSE
RT enzyme | FoCo |  |  | baseline threshold changed to 34000 and hit Analyze |  |  |  | FALSE
|  |  |  | Export .xls file with named "SS-y##-w#-p#-pcr" |  |  |  | FALSE
RXN INPUT |  |  |  | RUN NOTES
N samples | 96 | non blank values in platemap
Overage | 1.2 | % over recommended to ensure enough volume for pipetting
RXN CALCULATOR
MM1 Reagent | 1X | Total Reaction
Mastermix | 10 | 1152
Primer probe | 4 | 460.8
RT | 1 | 115.2
total | 15 | 1728
Mini MM tube # and V | 8 | 216
use the space above to write any anomalies with the run as a whole or notes about particular samples.