## instructions
Step | NAME | DESCRIPTION
1 | COPY | make a copy of this and put it in the "weekly_report_input_folder" that corresponds to the correct year and week.
2 | RENAME | Replace the # with the appropriate year, week and plate numbers in the name. Example year 24, week 28 plate 2: SS_y24_w28_p2_rna_extract_and_pcr_notebook
3 | PASTE | paste your platemap into the appropriate location in the rna and/or pcr sheet
4 | COMPLETE | Fill out all highlighted sections and rename this copied file with the "plate # or p#" in the title. This will be the platemap input in the pipeline
| * | Don't change the names of the sheets

## rna_extraction
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | CSU-23102 | CSU-23110 | CSU-23118 | CSU-23126 | CSU-23134 | CSU-23142 | CSU-23150 | CSU-23158 | CSU-23166 | RMRP-00672 |  | wnv_std_1e6
B | CSU-23103 | CSU-23111 | CSU-23119 | CSU-23127 | CSU-23135 | CSU-23143 | CSU-23151 | CSU-23159 | CSU-23167 | RMRP-00673 |  | wnv_std_1e2
C | CSU-23104 | CSU-23112 | CSU-23120 | CSU-23128 | CSU-23136 | CSU-23144 | CSU-23152 | CSU-23160 | CSU-23168 | RMRP-00674 |  | wnv_std_1e4
D | CSU-23105 | CSU-23113 | CSU-23121 | CSU-23129 | CSU-23137 | CSU-23145 | CSU-23153 | CSU-23161 | RMRP-00667 | RMRP-00675 |  | slev_std_1e6
E | CSU-23106 | CSU-23114 | CSU-23122 | CSU-23130 | CSU-23138 | CSU-23146 | CSU-23154 | CSU-23162 | RMRP-00668 | RMRP-00676 |  | slev_std_1e2
F | CSU-23107 | CSU-23115 | CSU-23123 | CSU-23131 | CSU-23139 | CSU-23147 | CSU-23155 | CSU-23163 | RMRP-00669 | RMRP-00677 |  | slev_std_1e4
G | CSU-23108 | CSU-23116 | CSU-23124 | CSU-23132 | CSU-23140 | CSU-23148 | CSU-23156 | CSU-23164 | RMRP-00670 | RMRP-00678 |  | neg pcr ctrl
H | CSU-23109 | CSU-23117 | CSU-23125 | CSU-23133 | CSU-23141 | CSU-23149 | CSU-23157 | CSU-23165 | RMRP-00671 | RMRP-00679 | pos extract ctl | neg extract ctl
[5 empty] | full protocol here -----------------------> |  | SS - RNA extraction
YOUR NAME |  | Kara |  |  | PROTOCOL CHECKLIST
[5 empty] | take samples out of freezer to thaw |  |  |  | TRUE
SUPPLIES |  |  |  |  | ethanol added to SPR (check mark on bottle) |  |  |  | TRUE
Machine/Reagent | Group | Lot/ID |  |  | ethanol added to VHB (check mark on bottle) |  |  |  | TRUE
[5 empty] | positve and negative extraction controls added |  |  |  | TRUE
Kingfisher | Ebel |  |  |  | pipettes changed between samples |  |  |  | TRUE
TNA Lysis Buffer | FoCo |  |  |  | beads at room temp |  |  |  | TRUE
Isopropanol | FoCo |  |  |  | beads vortexed |  |  |  | TRUE
Proteanase K | FoCo |  |  |  | beads and proteanase K thoroughly mixed prior to dispensing |  |  |  | TRUE
linear acrylamide | FoCo |  |  |  | maintenance plate run done prior to sample run |  |  |  | TRUE
magbind beads | FoCo |  |  |  | A1 of sample plate oriented to A1 in machine |  |  |  | TRUE
SPR | Ebel |  |  |  | Return tip plate to top of robot |  |  |  | TRUE
VHB | Ebel |  |  |  | VHB, SPR and SAMPLE Plates liquid in sink plates in gargabe |  |  |  | TRUE
dfh20 | FoCo |  |  |  | Elution plate sealed with microseal B and in freezer/fridge or immediately processed |  |  |  | TRUE
RXN INPUT |  |  |  |  | RUN NOTES
N samples | 82 | (non blank values in platemap, excluding standards and neg pcr ctrl)
Overage | 1.2 | % over recommended to ensure enough volume for pipetting
RXN CALCULATOR
Sample MM1 | 1X | Total Reaction | Added?
TNA lysis buffer | 60 | 5904 | TRUE
linear acrylamide | 1 | 98.4 | TRUE
isopropanol | 70 | 6888 | TRUE
total | 131 | 12890.4
Mini MM tube # and V | 8 | 1611.3
Sample MM2 | 1X | Total Reaction
MagBind beads | 5 | 492 | TRUE
proteinase K | 5 | 492 | TRUE
total | 10 | 984 | TRUE
Mini MM tube # and V | 8 | 123
use the space above to write any anomalies with the run as a whole or notes about particular samples.
Other Plates | 1x | Total (SPR doubled)
SPRx2 | 200 | 39360 | TRUE
VHB | 200 | 19680 | TRUE
h20 Elution | 50 | 4920 | TRUE

## pcr
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | CSU-23102 | CSU-23110 | CSU-23118 | CSU-23126 | CSU-23134 | CSU-23142 | CSU-23150 | CSU-23158 | CSU-23166 | RMRP-00672 | BOU-00261 | wnv_std_1e6
B | CSU-23103 | CSU-23111 | CSU-23119 | CSU-23127 | CSU-23135 | CSU-23143 | CSU-23151 | CSU-23159 | CSU-23167 | RMRP-00673 | BOU-00262 | wnv_std_1e2
C | CSU-23104 | CSU-23112 | CSU-23120 | CSU-23128 | CSU-23136 | CSU-23144 | CSU-23152 | CSU-23160 | CSU-23168 | RMRP-00674 | BOU-00263 | wnv_std_1e4
D | CSU-23105 | CSU-23113 | CSU-23121 | CSU-23129 | CSU-23137 | CSU-23145 | CSU-23153 | CSU-23161 | RMRP-00667 | RMRP-00675 | BOU-00264 | slev_std_1e6
E | CSU-23106 | CSU-23114 | CSU-23122 | CSU-23130 | CSU-23138 | CSU-23146 | CSU-23154 | CSU-23162 | RMRP-00668 | RMRP-00676 | BOU-00265 | slev_std_1e2
F | CSU-23107 | CSU-23115 | CSU-23123 | CSU-23131 | CSU-23139 | CSU-23147 | CSU-23155 | CSU-23163 | RMRP-00669 | RMRP-00677 |  | slev_std_1e4
G | CSU-23108 | CSU-23116 | CSU-23124 | CSU-23132 | CSU-23140 | CSU-23148 | CSU-23156 | CSU-23164 | RMRP-00670 | RMRP-00678 |  | neg pcr ctrl
H | CSU-23109 | CSU-23117 | CSU-23125 | CSU-23133 | CSU-23141 | CSU-23149 | CSU-23157 | CSU-23165 | RMRP-00671 | RMRP-00679 | pos extract ctl | neg extract ctl
YOUR NAME |  | Catalina
|  |  |  | full protocol here -----------------------> |  | SS - Multiplex qRT-PCR
SUPPLIES |  |  |  | PROTOCOL CHECKLIST
Machine/Reagent | Group | Lot/ID |  | changed pipettes between samples |  |  |  | TRUE
Quantstudio | FoCo | NA |  | neg pcr control added |  |  |  | TRUE
Mastermix | FoCo |  |  | standards added |  |  |  | TRUE
primer probe | FoCo | NA |  | Reagents put back in -4 C |  |  |  | TRUE
RT enzyme | FoCo |  |  | baseline threshold changed to 34000 and hit Analyze |  |  |  | FALSE
|  |  |  | Export .xls file with named "SS-y##-w#-p#-pcr" |  |  |  | FALSE
RXN INPUT |  |  |  | RUN NOTES
N samples | 94 | non blank values in platemap |  | BOU samples were extracted indivudually then added to the rna plate.
Overage | 1.2 | % over recommended to ensure enough volume for pipetting
RXN CALCULATOR
MM1 Reagent | 1X | Total Reaction
Mastermix | 10 | 1128
Primer probe | 4 | 451.2
RT | 1 | 112.8
total | 15 | 1692
Mini MM tube # and V | 8 | 211.5
use the space above to write any anomalies with the run as a whole or notes about particular samples.