## instructions
Step | NAME | DESCRIPTION
1 | COPY | make a copy of this and put it in the "weekly_report_input_folder" that corresponds to the correct year and week.
2 | RENAME | Replace the # with the appropriate year, week and plate numbers in the name. Example year 24, week 28 plate 2: SS_y24_w28_p2_rna_extract_and_pcr_notebook
3 | PASTE | paste your platemap into the appropriate location in the rna and/or pcr sheet
4 | COMPLETE | Fill out all highlighted sections and rename this copied file with the "plate # or p#" in the title. This will be the platemap input in the pipeline
| * | Don't change the names of the sheets

## rna_extraction
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 23392 | 23400 | 23408 | 23416 | 23424 | 23432 | 23440 | 23448 | 23456 | 23464 | 23472 | wnv_std_1e6 | added in pcr*
B | - | - | - | - | - | - | - | - | - | - | - | wnv_std_1e4
C | - | - | - | - | - | - | - | - | - | - | - | wnv_std_1e2
D | - | - | - | - | - | - | - | - | - | - | - | slev_std_1e6
E | - | - | - | - | - | - | - | - | - | - | - | slev_std_1e4
F | - | - | - | - | - | - | - | - | - | - | - | slev_std_1e2
G | - | - | - | - | - | - | - | - | - | - | - | neg pcr ctrl
H | - | - | - | - | - | - | - | - | - | - | positive extraction | negative extraction
[5 empty] | full protocol here -----------------------> |  | SS - RNA extraction
YOUR NAME |  | Kara |  |  | PROTOCOL CHECKLIST
[5 empty] | take samples out of freezer to thaw |  |  |  | FALSE
SUPPLIES |  |  |  |  | ethanol added to SPR (check mark on bottle) |  |  |  | FALSE
Machine/Reagent | Group | Lot/ID |  |  | ethanol added to VHB (check mark on bottle) |  |  |  | FALSE
[5 empty] | positve and negative extraction controls added |  |  |  | FALSE
Kingfisher | FoCo | NA |  |  | pipettes changed between samples |  |  |  | FALSE
TNA Lysis Buffer | FoCo |  |  |  | beads at room temp |  |  |  | FALSE
Isopropanol | FoCo |  |  |  | beads vortexed |  |  |  | FALSE
Proteanase K | FoCo |  |  |  | beads and proteanase K thoroughly mixed prior to dispensing |  |  |  | FALSE
linear acrylamide | FoCo |  |  |  | maintenance plate run done prior to sample run |  |  |  | FALSE
magbind beads | FoCo |  |  |  | A1 of sample plate oriented to A1 in machine |  |  |  | FALSE
SPR | FoCo |  |  |  | Return tip plate to top of robot |  |  |  | FALSE
VHB | FoCo |  |  |  | VHB, SPR and SAMPLE Plates liquid in sink plates in gargabe |  |  |  | FALSE
dfh20 | FoCo |  |  |  | Elution plate sealed with microseal B and in freezer/fridge or immediately processed |  |  |  | FALSE
RXN INPUT |  |  |  |  | RUN NOTES
N samples | 89 | (non blank values in platemap, excluding standards and neg pcr ctrl)
Overage | 1.2 | % over recommended to ensure enough volume for pipetting
RXN CALCULATOR
Sample MM1 | 1X | Total Reaction | Added?
TNA lysis buffer | 60 | 6408 | TRUE
linear acrylamide | 1 | 106.8 | TRUE
isopropanol | 70 | 7476 | TRUE
total | 131 | 13990.8
Mini MM tube # and V | 8 | 1748.85
Sample MM2 | 1X | Total Reaction
MagBind beads | 5 | 534 | TRUE
proteinase K | 5 | 534 | TRUE
total | 10 | 1068 | TRUE
Mini MM tube # and V | 8 | 133.5
use the space above to write any anomalies with the run as a whole or notes about particular samples.
Other Plates | 1x | Total (SPR doubled)
SPRx2 | 200 | 42720 | TRUE
VHB | 200 | 21360 | TRUE
h20 Elution | 50 | 5340 | TRUE

## pcr
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | CSU-23392 | CSU-23400 | CSU-23408 | CSU-23416 | CSU-23424 | CSU-23432 | CSU-23440 | CSU-23448 | CSU-23456 | CSU-23464 | CSU-23472 | wnv_std_1e6
B | CSU-23393 | CSU-23401 | CSU-23409 | CSU-23417 | CSU-23425 | CSU-23433 | CSU-23441 | CSU-23449 | CSU-23457 | CSU-23465 | CSU-23473 | wnv_std_1e4
C | CSU-23394 | CSU-23402 | CSU-23410 | CSU-23418 | CSU-23426 | CSU-23434 | CSU-23442 | CSU-23450 | CSU-23458 | CSU-23466 | CSU-23474 | wnv_std_1e2
D | CSU-23395 | CSU-23403 | CSU-23411 | CSU-23419 | CSU-23427 | CSU-23435 | CSU-23443 | CSU-23451 | CSU-23459 | CSU-23467 | CSU-23475 | slev_std_1e6
E | CSU-23396 | CSU-23404 | CSU-23412 | CSU-23420 | CSU-23428 | CSU-23436 | CSU-23444 | CSU-23452 | CSU-23460 | CSU-23468 | CSU-23476 | slev_std_1e4
F | CSU-23397 | CSU-23405 | CSU-23413 | CSU-23421 | CSU-23429 | CSU-23437 | CSU-23445 | CSU-23453 | CSU-23461 | CSU-23469 | CSU-23477 | slev_std_1e2
G | CSU-23398 | CSU-23406 | CSU-23414 | CSU-23422 | CSU-23430 | CSU-23438 | CSU-23446 | CSU-23454 | CSU-23462 | CSU-23470 | CSU-23478 | neg pcr ctrl
H | CSU-23399 | CSU-23407 | CSU-23415 | CSU-23423 | CSU-23431 | CSU-23439 | CSU-23447 | CSU-23455 | CSU-23463 | CSU-23471 | positive extraction | neg extract
YOUR NAME |  | Kara
|  |  |  | full protocol here -----------------------> |  | SS - Multiplex qRT-PCR
SUPPLIES |  |  |  | PROTOCOL CHECKLIST
Machine/Reagent | Group | Lot/ID |  | changed pipettes between samples |  |  |  | FALSE
Quantstudio | FoCo | NA |  | neg pcr control added |  |  |  | FALSE
Mastermix | FoCo |  |  | standards added |  |  |  | FALSE
primer probe | FoCo | NA |  | Reagents put back in -4 C |  |  |  | FALSE
RT enzyme | FoCo |  |  | baseline threshold changed to 34000 and hit Analyze |  |  |  | FALSE
standards | FoCo | NA |  | Export .xls file with named "SS-y##-w#-p#-pcr" |  |  |  | FALSE
RXN INPUT |  |  |  | RUN NOTES
N samples | 96 | non blank values in platemap
Overage | 1.2 | % over recommended to ensure enough volume for pipetting
RXN CALCULATOR
MM1 Reagent | 1X | Total Reaction
Mastermix | 10 | 1152
Primer probe | 4 | 460.8
RT | 1 | 115.2
total | 15 | 1728
Mini MM tube # and V | 8 | 216
use the space above to write any anomalies with the run as a whole or notes about particular samples.