## instructions
Step | NAME | DESCRIPTION
1 | COPY | make a copy of this and put it in the "weekly_report_input_folder" that corresponds to the correct year and week.
2 | RENAME | Replace the # with the appropriate year, week and plate numbers in the name. Example year 24, week 28 plate 2: SS_y24_w28_p2_rna_extract_and_pcr_notebook
3 | PASTE | paste your platemap into the appropriate location in the rna and/or pcr sheet
4 | COMPLETE | Fill out all highlighted sections and rename this copied file with the "plate # or p#" in the title. This will be the platemap input in the pipeline
| * | Don't change the names of the sheets

## rna_extraction
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | CSU-23587 | CSU-23595 | CSU-23603 | CSU-23611 | CSU-23619 | CSU-23627 | CSU-23635 | CSU-23643 | CSU-23651 | CSU-23659 | BOU-00278 | RMRP-00724 | added in pcr*
B | CSU-23588 | CSU-23596 | CSU-23604 | CSU-23612 | CSU-23620 | CSU-23628 | CSU-23636 | CSU-23644 | CSU-23652 | CSU-23660 | BOU-00279 | RMRP-00725
C | CSU-23589 | CSU-23597 | CSU-23605 | CSU-23613 | CSU-23621 | CSU-23629 | CSU-23637 | CSU-23645 | CSU-23653 | CSU-23661 | BOU-00280 | wnv_std_1e2
D | CSU-23590 | CSU-23598 | CSU-23606 | CSU-23614 | CSU-23622 | CSU-23630 | CSU-23638 | CSU-23646 | CSU-23654 | CSU-23662 | RMRP-00713 | slev_std_1e6
E | CSU-23591 | CSU-23599 | CSU-23607 | CSU-23615 | CSU-23623 | CSU-23631 | CSU-23639 | CSU-23647 | CSU-23655 | CSU-23663 | RMRP-00714 | slev_std_1e4
F | CSU-23592 | CSU-23600 | CSU-23608 | CSU-23616 | CSU-23624 | CSU-23632 | CSU-23640 | CSU-23648 | CSU-23656 | CSU-23664 | RMRP-00715 | slev_std_1e2
G | CSU-23593 | CSU-23601 | CSU-23609 | CSU-23617 | CSU-23625 | CSU-23633 | CSU-23641 | CSU-23649 | CSU-23657 | BOU-00276 | RMRP-00716 | neg pcr ctrl
H | CSU-23594 | CSU-23602 | CSU-23610 | CSU-23618 | CSU-23626 | CSU-23634 | CSU-23642 | CSU-23650 | CSU-23658 | BOU-00277 | pos extract ctl | neg extract ctl
[5 empty] | full protocol here -----------------------> |  | SS - RNA extraction
YOUR NAME |  | Kara |  |  | PROTOCOL CHECKLIST
[5 empty] | take samples out of freezer to thaw |  |  |  | TRUE
SUPPLIES |  |  |  |  | ethanol added to SPR (check mark on bottle) |  |  |  | TRUE
Machine/Reagent | Group | Lot/ID |  |  | ethanol added to VHB (check mark on bottle) |  |  |  | TRUE
[5 empty] | positve and negative extraction controls added |  |  |  | TRUE
Kingfisher | FoCo | NA |  |  | pipettes changed between samples |  |  |  | TRUE
TNA Lysis Buffer | FoCo |  |  |  | beads at room temp |  |  |  | TRUE
Isopropanol | FoCo |  |  |  | beads vortexed |  |  |  | TRUE
Proteanase K | FoCo |  |  |  | beads and proteanase K thoroughly mixed prior to dispensing |  |  |  | TRUE
linear acrylamide | FoCo |  |  |  | maintenance plate run done prior to sample run |  |  |  | TRUE
magbind beads | FoCo |  |  |  | A1 of sample plate oriented to A1 in machine |  |  |  | TRUE
SPR | FoCo |  |  |  | Return tip plate to top of robot |  |  |  | TRUE
VHB | FoCo |  |  |  | VHB, SPR and SAMPLE Plates liquid in sink plates in gargabe |  |  |  | TRUE
dfh20 | FoCo |  |  |  | Elution plate sealed with microseal B and in freezer/fridge or immediately processed |  |  |  | TRUE
RXN INPUT |  |  |  |  | RUN NOTES
N samples | 91 | (non blank values in platemap, excluding standards and neg pcr ctrl) |  |  | RMRP samples temporarily added to final column so only 2 RNA extractions are needed. PCR layout on p3 spreadsheet
Overage | 1.2 | % over recommended to ensure enough volume for pipetting
RXN CALCULATOR
Sample MM1 | 1X | Total Reaction | Added?
TNA lysis buffer | 60 | 6552 | TRUE
linear acrylamide | 1 | 109.2 | TRUE
isopropanol | 70 | 7644 | TRUE
total | 131 | 14305.2
Mini MM tube # and V | 8 | 1788.15
Sample MM2 | 1X | Total Reaction
MagBind beads | 5 | 546 | TRUE
proteinase K | 5 | 546 | TRUE
total | 10 | 1092 | TRUE
Mini MM tube # and V | 8 | 136.5
use the space above to write any anomalies with the run as a whole or notes about particular samples.
Other Plates | 1x | Total (SPR doubled)
SPRx2 | 200 | 43680 | TRUE
VHB | 200 | 21840 | TRUE
h20 Elution | 50 | 5460 | TRUE

## pcr
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | CSU-23587 | CSU-23595 | CSU-23603 | CSU-23611 | CSU-23619 | CSU-23627 | CSU-23635 | CSU-23643 | CSU-23651 | CSU-23659 | BOU-00278 | wnv_std_1e6
B | CSU-23588 | CSU-23596 | CSU-23604 | CSU-23612 | CSU-23620 | CSU-23628 | CSU-23636 | CSU-23644 | CSU-23652 | CSU-23660 | BOU-00279 | wnv_std_1e4
C | CSU-23589 | CSU-23597 | CSU-23605 | CSU-23613 | CSU-23621 | CSU-23629 | CSU-23637 | CSU-23645 | CSU-23653 | CSU-23661 | BOU-00280 | wnv_std_1e2
D | CSU-23590 | CSU-23598 | CSU-23606 | CSU-23614 | CSU-23622 | CSU-23630 | CSU-23638 | CSU-23646 | CSU-23654 | CSU-23662 | RMRP-00713 | slev_std_1e6
E | CSU-23591 | CSU-23599 | CSU-23607 | CSU-23615 | CSU-23623 | CSU-23631 | CSU-23639 | CSU-23647 | CSU-23655 | CSU-23663 | RMRP-00714 | slev_std_1e4
F | CSU-23592 | CSU-23600 | CSU-23608 | CSU-23616 | CSU-23624 | CSU-23632 | CSU-23640 | CSU-23648 | CSU-23656 | CSU-23664 | RMRP-00715 | slev_std_1e2
G | CSU-23593 | CSU-23601 | CSU-23609 | CSU-23617 | CSU-23625 | CSU-23633 | CSU-23641 | CSU-23649 | CSU-23657 | BOU-00276 | RMRP-00716 | neg pcr ctrl
H | CSU-23594 | CSU-23602 | CSU-23610 | CSU-23618 | CSU-23626 | CSU-23634 | CSU-23642 | CSU-23650 | CSU-23658 | BOU-00277 | pos extract ctl | neg extract ctl
YOUR NAME |  | Kara
|  |  |  | full protocol here -----------------------> |  | SS - Multiplex qRT-PCR
SUPPLIES |  |  |  | PROTOCOL CHECKLIST
Machine/Reagent | Group | Lot/ID |  | changed pipettes between samples |  |  |  | TRUE
Quantstudio | FoCo | NA |  | neg pcr control added |  |  |  | TRUE
Mastermix | FoCo |  |  | standards added |  |  |  | TRUE
primer probe | FoCo | NA |  | Reagents put back in -4 C |  |  |  | TRUE
RT enzyme | FoCo |  |  | baseline threshold changed to 34000 and hit Analyze |  |  |  | TRUE
standards | FoCo | NA |  | Export .xls file with named "SS-y##-w#-p#-pcr" |  |  |  | TRUE
RXN INPUT |  |  |  | RUN NOTES
N samples | 96 | non blank values in platemap
Overage | 1.2 | % over recommended to ensure enough volume for pipetting
RXN CALCULATOR
MM1 Reagent | 1X | Total Reaction
Mastermix | 10 | 1152
Primer probe | 4 | 460.8
RT | 1 | 115.2
total | 15 | 1728
Mini MM tube # and V | 8 | 216
use the space above to write any anomalies with the run as a whole or notes about particular samples.