## instructions
Step | NAME | DESCRIPTION
1 | COPY | make a copy of this and put it in the "weekly_report_input_folder" that corresponds to the correct year and week.
2 | RENAME | Replace the # with the appropriate year, week and plate numbers in the name. Example year 2024, week 28 plate 2: SS_y2024_w28_p2_rna_extract_and_pcr_notebook
3 | PASTE | paste your platemap into the appropriate location in the rna and/or pcr sheet
4 | COMPLETE | Fill out all highlighted sections and rename this copied file with the "plate # or p#" in the title. This will be the platemap input in the pipeline
| * | Don't change the names of the sheets

## rna_extraction
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | CSU-24771 | CSU-24779 | CSU-24787 | CSU-24795 | CSU-24803 | CSU-24811 | CSU-24819 | CSU-24827 | CSU-24835 | CSU-24843 | CSU-24851 | wnv_std_1e6 | added in pcr*
B | CSU-24772 | CSU-24780 | CSU-24788 | CSU-24796 | CSU-24804 | CSU-24812 | CSU-24820 | CSU-24828 | CSU-24836 | CSU-24844 | CSU-24852 | wnv_std_1e4
C | CSU-24773 | CSU-24781 | CSU-24789 | CSU-24797 | CSU-24805 | CSU-24813 | CSU-24821 | CSU-24829 | CSU-24837 | CSU-24845 | CSU-24853 | wnv_std_1e2
D | CSU-24774 | CSU-24782 | CSU-24790 | CSU-24798 | CSU-24806 | CSU-24814 | CSU-24822 | CSU-24830 | CSU-24838 | CSU-24846 | CSU-24854 | slev_std_1e6
E | CSU-24775 | CSU-24783 | CSU-24791 | CSU-24799 | CSU-24807 | CSU-24815 | CSU-24823 | CSU-24831 | CSU-24839 | CSU-24847 | CSU-24855 | slev_std_1e4
F | CSU-24776 | CSU-24784 | CSU-24792 | CSU-24800 | CSU-24808 | CSU-24816 | CSU-24824 | CSU-24832 | CSU-24840 | CSU-24848 | CSU-24856 | slev_std_1e2
G | CSU-24777 | CSU-24785 | CSU-24793 | CSU-24801 | CSU-24809 | CSU-24817 | CSU-24825 | CSU-24833 | CSU-24841 | CSU-24849 | CSU-24857 | neg pcr ctrl
H | CSU-24778 | CSU-24786 | CSU-24794 | CSU-24802 | CSU-24810 | CSU-24818 | CSU-24826 | CSU-24834 | CSU-24842 | CSU-24850 | neg extract ctl | pos extract ctl
[5 empty] | full protocol here -----------------------> |  | SS - RNA extraction
YOUR NAME |  | Kara |  |  | PROTOCOL CHECKLIST
[5 empty] | take samples out of freezer to thaw |  |  |  | TRUE
SUPPLIES |  |  |  |  | ethanol added to SPR (check mark on bottle) |  |  |  | TRUE
Machine/Reagent | Group | Lot/ID |  |  | ethanol added to VHB (check mark on bottle) |  |  |  | TRUE
[5 empty] | positve and negative extraction controls added |  |  |  | TRUE
Kingfisher | FoCo | NA |  |  | pipettes changed between samples |  |  |  | TRUE
TNA Lysis Buffer | FoCo |  |  |  | beads at room temp |  |  |  | TRUE
Isopropanol | FoCo |  |  |  | beads vortexed |  |  |  | TRUE
Proteanase K | FoCo |  |  |  | beads and proteanase K thoroughly mixed prior to dispensing |  |  |  | TRUE
linear acrylamide | FoCo |  |  |  | maintenance plate run done prior to sample run |  |  |  | TRUE
magbind beads | FoCo |  |  |  | A1 of sample plate oriented to A1 in machine |  |  |  | TRUE
SPR | FoCo |  |  |  | Return tip plate to top of robot |  |  |  | TRUE
VHB | FoCo |  |  |  | VHB, SPR and SAMPLE Plates liquid in sink plates in gargabe |  |  |  | TRUE
dfh20 | FoCo |  |  |  | Elution plate sealed with microseal B and in freezer/fridge or immediately processed |  |  |  | TRUE
RXN INPUT |  |  |  |  | RUN NOTES
N samples | 89 | (non blank values in platemap, excluding standards and neg pcr ctrl)
Overage | 1.2 | % over recommended to ensure enough volume for pipetting
RXN CALCULATOR
Sample MM1 | 1X | Total Reaction | Added?
TNA lysis buffer | 60 | 6408 | TRUE | 8280
linear acrylamide | 1 | 106.8 | TRUE | 138
isopropanol | 70 | 7476 | TRUE | 9660
total | 131 | 13990.8
Mini MM tube # and V | 8 | 1748.85
Sample MM2 | 1X | Total Reaction
MagBind beads | 5 | 534 | TRUE | 690
proteinase K | 5 | 534 | TRUE
total | 10 | 1068 | TRUE
Mini MM tube # and V | 8 | 133.5
use the space above to write any anomalies with the run as a whole or notes about particular samples.
Other Plates | 1x | Total (SPR doubled)
SPRx2 | 200 | 42720 | TRUE
VHB | 200 | 21360 | TRUE
h20 Elution | 50 | 5340 | TRUE

## pcr
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | CSU-24771 | CSU-24779 | CSU-24787 | CSU-24795 | CSU-24803 | CSU-24811 | CSU-24819 | CSU-24827 | CSU-24835 | CSU-24843 | CSU-24851 | wnv_std_1e6
B | CSU-24772 | CSU-24780 | CSU-24788 | CSU-24796 | CSU-24804 | CSU-24812 | CSU-24820 | CSU-24828 | CSU-24836 | CSU-24844 | CSU-24852 | wnv_std_1e4
C | CSU-24773 | CSU-24781 | CSU-24789 | CSU-24797 | CSU-24805 | CSU-24813 | CSU-24821 | CSU-24829 | CSU-24837 | CSU-24845 | CSU-24853 | wnv_std_1e2
D | CSU-24774 | CSU-24782 | CSU-24790 | CSU-24798 | CSU-24806 | CSU-24814 | CSU-24822 | CSU-24830 | CSU-24838 | CSU-24846 | CSU-24854 | slev_std_1e6
E | CSU-24775 | CSU-24783 | CSU-24791 | CSU-24799 | CSU-24807 | CSU-24815 | CSU-24823 | CSU-24831 | CSU-24839 | CSU-24847 | CSU-24855 | slev_std_1e4
F | CSU-24776 | CSU-24784 | CSU-24792 | CSU-24800 | CSU-24808 | CSU-24816 | CSU-24824 | CSU-24832 | CSU-24840 | CSU-24848 | CSU-24856 | slev_std_1e2
G | CSU-24777 | CSU-24785 | CSU-24793 | CSU-24801 | CSU-24809 | CSU-24817 | CSU-24825 | CSU-24833 | CSU-24841 | CSU-24849 | CSU-24857 | neg pcr ctrl
H | CSU-24778 | CSU-24786 | CSU-24794 | CSU-24802 | CSU-24810 | CSU-24818 | CSU-24826 | CSU-24834 | CSU-24842 | CSU-24850 | pos extract ctl | neg extract ctl
YOUR NAME |  | Kara
|  |  |  | full protocol here -----------------------> |  | SS - Multiplex qRT-PCR
SUPPLIES |  |  |  | PROTOCOL CHECKLIST
Machine/Reagent | Group | Lot/ID |  | changed pipettes between samples |  |  |  | TRUE
Quantstudio | FoCo | NA |  | neg pcr control added |  |  |  | TRUE
Mastermix | FoCo |  |  | standards added |  |  |  | TRUE
primer probe | FoCo | NA |  | Reagents put back in -4 C |  |  |  | TRUE
RT enzyme | FoCo |  |  | baseline threshold changed to 34000 and hit Analyze |  |  |  | TRUE
standards | FoCo | NA |  | Export .xls file with named "SS-y####-w#-p#-pcr" |  |  |  | TRUE
RXN INPUT |  |  |  | RUN NOTES
N samples | 96 | non blank values in platemap |  | positve and negative controls were switched from here usual places
Overage | 1.2 | % over recommended to ensure enough volume for pipetting
RXN CALCULATOR
MM1 Reagent | 1X | Total Reaction | 774 | x2
Mastermix | 10 | 1152 | 1548 | =
Primer probe | 4 | 460.8 | 619.2
RT | 1 | 115.2 | 154.8
total | 15 | 1728
Mini MM tube # and V | 8 | 216
use the space above to write any anomalies with the run as a whole or notes about particular samples.